**Weott CSD’s Operator’s Report**

**5-22-24**

**Kyle and Greg**

**Springs/Flow: *We are still getting good flow from the springs.***

**Test Results: *Water quality has been passing state standards.***

**Water Plant:  *It has been working efficiently***

**Wastewater Plant:**

**Is operating as well as it can.**

**Wastewater Treatment: *Wastewater has been passing state standards.***

***Repairs and Maintenance:***

***While doing a routine flushing of the hydrants on the “A” line I found that one of them had barely any water coming out of it. And it also only had 50 pounds of pressure which would probably work if it had any volume to it . There is a P.R.V. directly before said hydrant so we’re thinking that it must be the problem .***

***We are still working on that additional meter for the residence on Newton rd. we havent been able to locate the pipe on the customer side of the road.***

***Greg met an estimator from Cutting Edge Tree on May 20th to give us a quote on getting the road cleared. He is meeting another company today, May 22nd, for another quote.***