**Weott CSD’s Operator’s Report**

**Kyle and Greg**

**6-28-23**

# **-Springs/water: Both A and B springs still have good flow coming off the mountain. We are planning on going up there next week to check the springs and make sure everything is working properly.**

**-Test results: Water test results are looking good and passing.**

**-Boil water notice: We are still off boil water notice.**

**-Wastewater: The wastewater plant has been working ok for only having one bed in operation. We have been pulling weeds in beds and cleaning up around the yard.**

**-Wastewater test results: Test results have been coming back good.**

**-Lift Station: One of the pumps in the wet well is making a loud humming noise, so we shut that one off and are planning on pulling it and taking a look at it.**

**-Leaks: We found a Leak in a box a little ways up madrone st. The box has an anti-hammer device in it , and it appears water is leaking into the box. We are making a plan to dig up around the box to find where it's actually leaking.**

**-Dump Runs- We took a whole dump trailer of trash from the water treatment plant . Cali , Dave , and his kids came and gave us a hand. Bonnie let us use her dump trailer.**

**-General Maintenance: We have been weed whacking around water tanks , Lift station, hydrants,community center, and meters. We have been properly marking hydrants and painting them so they are easily visible from the road.**

**-Side by side: We have not had time to retrieve the side by side yet. We are planning on heading out there next week and grabbing it , and getting it fixed.**

**-Cut Meter:** **While we were reading meters , we found that one of the meters that had been locked off for several months had been cut and reopened and had a 200 cft usage on it. We reported it to the sheriffs.**