**Weott CSD’s Operator’s Report**

**7-24-24**

**Kyle and Greg**

**Springs/Flow:** We are still getting good flow from A and B springs. We went and checked on A spring and cleaned it out.

**Test Results:** Water quality has been passing state standards.

**Water Plant:** It has been working efficiently.

**Wastewater Plant:**It is functioning properly and passing state tests.

***Project update:***We went over grass hopper ridge to the springs with SHN to look at A spring line and what it would take to replace it. We are going up again on the 31st to finish looking at A line and also look at B line .

We started the project for the new A tank on 7-17-24. They started out by falling some trees and pulling stumps out so they can dig back the old unpacked dirt to native ground and re-pack the shelf so it is safe and secure for the new tank installation. We will have updates every meeting.