**Weott CSD’s Operator’s Report**

**11-14-24**

**Kyle and Greg**

**Springs/Flow:** We are still getting flow from A and B springs.

**Test Results:** Water quality has been passing state standards.

**Water Plant:** It has been working efficiently.

**Wastewater Plant:**It is functioning properly and passing state tests.

**Project Update:** We started the project for the new A tank on 7-17-24. They finished installing the drain junction box for tanks , and proper drain pipe for run off. They poured the concrete pad for the tank to sit on. Now they are waiting for the tank to be delivered and built.

**Lift station:** We pulled the lag pump out of the wet well and unhooked it. We are taking it up north to be looked at.

**Springs:** We plan on going across the river to check springs sometime next week. The flow is still looking good.