**Weott CSD’s Operator’s Report**

**3-20-24**

**Kyle and Greg**

**Springs/Flow: *We are still getting good flow from the springs…happy about that!!***

**Test Results: *Water quality has been passing state standards.***

**Water Plant:  *It has been working efficiently***

**Wastewater Plant: *Its working***

**Wastewater Treatment: *Wastewater has been passing state standards.***

**Wastewater Road: *We have noticed the access road to the plant is dropping out . There is a good size hole underneath one section of the road. It will need to be repaired before we have any Fuel trucks or equipment brought down there. Repaired a pretty substantial leak on north spring street. Also found the third of four meter boxes on the spring st. subdivision***